# MEASURE subsystem
The MEASURE subsystem waits for the start of a new averaging measurement cycle and returns the measured value. It doesn’t not trigger a new measurement but waits for a new measurement to take place.
### MEASure[:SCALar]:*[:DC]?
Syntax	MEASure[:SCALar]:CURRent[:DC]? / MEASure[:SCALar]:VOLTage[:DC]? / MEASure[:SCALar]:POWer[:DC]?
Description	These queries wait for a new measurement of current (A), voltage (V) or power (W). Measurements are averaged over the set number of line power cycles.
Return	Float
Usage example	Get a new measurement of the current value: / MEAS:CURR? / 1.02
Errors
Related Commands	[SENSe:]NPLCycles